## Sheet1
CSI MASTERFORMAT ¦ DIVISIONS OF WORK ¦ SUMMARY
Division | Title | Subdivisions
1 | General Requirements | -
2 | Existing Conditions | -
3 | Concrete | Cast-in-Place Concrete, Precast Concrete, Cast-in-Place Concrete, Structural Framing, Precast Structural Concrete, Concrete Finishing, Concrete Accessories, Concrete Reinforcement
4 | Masonry | Masonry Units and Accessories, Masonry Mortaring, Stone Masonry, Manufactured Stone Masonry
5 | Metals | Structural Metal Framing, Metal Decking, Cold-Formed Metal Framing, Metal Fabrications, Metal Railings, Ornamental Metal, Metal Stairs
6 | Wood, Plastics, and Composites | Rough Carpentry, Sheathing, Wood Decking, Structural Plastics, Finish Carpentry, Architectural Woodwork, Composite Fabrications
7 | Thermal and Moisture Protection | Dampproofing and Waterproofing, Thermal Insulation, Fire and Smoke Protection, Joint Sealants, Expansion Control
8 | Openings | Hollow Metal Doors and Frames, Wood Doors, Plastic Doors, Hardware, Glazing, Storefronts, Curtain Walls
9 | Finishes | Plaster and Gypsum Board, Tile, Terrazzo, Flooring, Wall Finishes, Ceilings, Stucco
10 | Specialties | Information Specialties, Fire Protection Specialties, Security and Safety Specialties, Postal Specialties
11 | Equipment | Vehicle and Pedestrian Equipment, Loading Dock Equipment, Detention Equipment, Theater and Stage Equipment
12 | Furnishings | Furniture, Furnishings, Accessories
13 | Special Construction | Special Purpose Rooms, Special Structures, Integrated Construction
14 | Conveying Equipment | Elevators, Escalators, Moving Walks, Lifts
21 | Fire Suppression | Sprinkler Systems, Fire Suppression, Standpipes, Fire Pumps
22 | Plumbing | Plumbing Equipment, Plumbing Fixtures, Facility Water Distribution, Facility Sewerage and Drainage
23 | Heating, Ventilating, and Air Conditioning (HVAC) | HVAC Equipment, HVAC Air Distribution, HVAC Fans and Blowers, HVAC Air Cleaning Devices
25 | Integrated Automation | Integrated Automation Instrumentation and Terminal Devices, Integrated Automation Control Network
26 | Electrical | Electrical Service, Electrical Power Generation, Electrical Power Transmission, Electrical Distribution, Electrical Wiring and Raceways, Electrical Equipment
27 | Communications | Structured Cabling, Distributed Communications and Monitoring Systems
28 | Electronic Safety and Security | Electronic Safety and Security Equipment, Electronic Access Control and Intrusion Detection
31 | Earthwork | Earth Moving, Excavating, Grading, Waterway Excavation and Containment
32 | Exterior Improvements | Exterior Improvements, Exterior Protection
33 | Utilities | Utilities, Water Utility Distribution, Electrical Utility Transmission and Distribution, Gas and Vapor Utility Distribution
34 | Transportation | Transportation Signaling and Control Equipment, Transportation Equipment
35 | Waterway and Marine Construction | Waterway Construction and Equipment, Marine Construction and Equipment
40 | Process Interconnections | Process Integration, Process Instrumentation
41 | Material Processing and Handling Equipment | Material Processing and Handling Equipment
42 | Process Heating, Cooling, and Drying Equipment | Process Heating Equipment, Process Cooling Equipment, Process Drying Equipment
43 | Process Gas and Liquid Handling, Purification, and Storage | Process Gas Handling Equipment, Process Liquid Handling Equipment, Process Purification Equipment, Process Gas and Liquid Storage
44 | Pollution and Waste Control Equipment | Pollution and Waste Control Equipment
45 | Industry-Specific Manufacturing Equipment | Industry-Specific Manufacturing Equipment
46 | Water and Wastewater Equipment | Water and Wastewater Equipment
48 | Electrical Power Generation | Electrical Power Generation Equipment
49 | Electrical Transmission and Distribution | Electrical Transmission and Distribution Equipment
50 | Specialized Construction | Specialized Construction